XYZ COLLEGE LONDON

MAINTENANCE REPORT FORM

Acct Number

Owner

Address

Test Deadline

Device Address

| Exact Device Location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  | Model |  |  |  |  |  |  | Size |  | Serial No. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Reduced Pressure Backflow Preventer |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Double Check Valve Assembly |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Relief Valve |
|  |  |  |  |  |  |  |  | Check Valve No. 1 |  |  |  |  |  |  |  |  | Check Valve No. 2 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Closed Tight 9 |  |  |  |  |  |  |  |  | Closed Tight 9 |  |  |  |  |  |  |  | Opened at |  |
| Initial Test |  |  |  |  |  | Leaked |  |  |  | 9 |  |  |  |  | Leaked |  |  |  | 9 |  |  |  |  | PSID |
|  |  |  |  |  |  |  |  |  | PSID |  |  |  |  |  |  |  | PSID |  |  |  |  |  | Did not open 9 |  |

Repairs

| Test After Repairs |  |  |  |  | Closed Tight 9 |  |  |  |  |  |  |  |  | Closed Tight 9 |  |  |  |  |  | Opened at |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | PSID |  |  |  |  |  |  | PSID |  |  |  |  | PSID |  |  |  |
| Condition of No. 2 Shutoff Valve 9 Closed Tight |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9 Leaked |  |  |  |  |  |  |  |  |
|  | PASS 9 |  |  |  |  |  |  |  | FAIL 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  |  |  |  |  |  |  |  | Examined by |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Certificate # |  |  |  |  |  |  |  |  |  | Certificate Expiration Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  | Witness: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

REMARKS