## HOME INSPECTION CHECKLIST

## Exterior

- When It Rains, Will The Water Flow Towards The Home? Yes or no

- Is There Water On The Floor Of The Crawlspace? Yes or No

- Is There A Musty Smell In The Crawlspace? Yes or No

- What Type Of Siding Is On The Home? Stucco? If so, Is It Hard Coat Or Synthetic?

- Fiberboard? If So, Is It Swollen And/Or Deteriorating? Yes or No

- What’s The Age Of The Roof?

- Are The Shingles Wavy And/Or Curled? Yes or No

## Interior

- Are There Moisture Stains Present On The Ceilings or Walls? Yes or No

- Is There Mold, Mildew or Musty Smells Inside The Home? Yes or No

- Are The Windows Cloudy And Difficult To See Through? Yes or No

- Are There Uneven Floors? Yes or No

- Are There Any Cracks In The Walls? Yes or No

- Do The Doors Close Properly? Yes or No

### What Is The Age Of The Heating, Cooling And Water Heating Units

- Heating Unit? (The average life span of heating and cooling is 15 + years)

- Outside Air Conditioning Unit? (The average life span of heating and cooling is 7 + years)

- Water Heater? (The average life span of heating and cooling is 5 + years)

## Other Important Information:

- Are there documentation for any major changes to the property? Yes or No (Receipts/Warranties/Guarantees/Permits)