|  | HOME INSPECTION |  |  |  |
| --- | --- | --- | --- | --- |
|  | CHECKLIST |  |  |  |
|  | This checklist helps buyers assess the condition of a property before purchase. Each section covers key areas of the home to ensure nothing is overlooked during inspection. |  |  |  |
|  | Property Description: |  |  |  |
|  | Willow Creek Cottage, Single-family home, 2,100 sq ft / 3 bedrooms / 2.5 bathrooms |  |  |  |
|  | Address: |  |  |  |
|  | 405 Great Avenue 25441 Cornwall, Phoenix, AZ |  |  |  |
|  | Date of Inspection: |  |  |  |
|  | October 21, 2025 |  |  |  |
|  | Report: |  |  |  |
|  | Minor cracks were observed in the basement wall near the southeast corner, likely due to settling. These do not appear structural but should be monitored over time. The HVAC system is operational but shows signs of wear; servicing is recommended before peak seasonal use. No visible pest activity was found during inspection, though preventive treatment may be advisable due to nearby vegetation. |  |  |  |

© TemplateLab.com

© TemplateLab.com

☐  Shed structure

☐  Shed structure

☐  Sprinkler system

☐  Sprinkler system

☐  Attic access

☐  Attic access

☐  Basement moisture

☐  Basement moisture

☐  Garage doors

☐  Garage doors

☐  Kitchen appliances

☐  Kitchen appliances

☐  Insulation type

☐  Insulation type

☐  Pest control signs

☐  Pest control signs

☐  Pool equipment

☐  Pool equipment

☐  Fence stability

☐  Fence stability

☐  Door locks

☐  Door locks

☐  Alarm system

☐  Alarm system

☐  Fire extinguisher

☐  Fire extinguisher

☐  CO detectors

☐  CO detectors

☐  Smoke detectors

☐  Smoke detectors

☐  Furnace operation

☐  Furnace operation

☐  AC cooling level

☐  AC cooling level

☐  Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Ceiling lights

☐  Ceiling lights

☐  Visible wiring

☐  Visible wiring

☐  Breaker labeling

☐  Breaker labeling

☐  Switch response

☐  Switch response

☐  Outlet function

☐  Outlet function

☐  Drain flow rate

4. Electrical (5 items)

- Outlet function

- Switch response

- Breaker labeling

- Visible wiring

- Ceiling lights

5. HVAC (3 items)

- Furnace operation

- AC cooling level

- Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Drain flow rate

4. Electrical (5 items)

- Outlet function

- Switch response

- Breaker labeling

- Visible wiring

- Ceiling lights

5. HVAC (3 items)

- Furnace operation

- AC cooling level

- Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Water heater age

☐  Water heater age

☐  Pipe corrosion

☐  Pipe corrosion

☐  Faucet leaks

☐  Faucet leaks

☐  Light fixtures

3. Plumbing (4 items)

- Faucet leaks

- Pipe corrosion

- Water heater age

- Drain flow rate

4. Electrical (5 items)

- Outlet function

- Switch response

- Breaker labeling

- Visible wiring

- Ceiling lights

5. HVAC (3 items)

- Furnace operation

- AC cooling level

- Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Light fixtures

3. Plumbing (4 items)

- Faucet leaks

- Pipe corrosion

- Water heater age

- Drain flow rate

4. Electrical (5 items)

- Outlet function

- Switch response

- Breaker labeling

- Visible wiring

- Ceiling lights

5. HVAC (3 items)

- Furnace operation

- AC cooling level

- Vent airflow

6. Safety (5 items)

- Smoke detectors

- CO detectors

- Fire extinguisher

- Alarm system

- Door locks

7. Miscellaneous (10 items)

- Attic access

- Basement moisture

- Garage doors

- Kitchen appliances

- Insulation type

- Pest control signs

- Pool equipment

- Fence stability

- Shed structure

- Sprinkler system

Would you like me to format this into a Word-style layout with placeholders or icons next? Or we could explore a version optimized for mobile inspection use.

☐  Stair stability

☐  Stair stability

☐  Door hinges

☐  Door hinges

☐  Window locks

☐  Window locks

☐  Floor scratches

☐  Floor scratches

☐  Ceiling stains

☐  Ceiling stains

☐  Wall paint quality

☐  Wall paint quality

☐  Landscaping health

☐  Landscaping health

☐  Roof shingles condition

☐  Roof shingles condition

☐  Driveway surface

☐  Driveway surface

☐  Foundation cracks

☐  Foundation cracks

☐  Door frames

☐  Door frames

☐  Window seals

☐  Window seals

☐  Gutter alignment

☐  Gutter alignment

☐  Siding damage

☐  Siding damage

MISCELLANEOUS

MISCELLANEOUS

SAFETY

SAFETY

HVAC

HVAC

ELECTRICAL

ELECTRICAL

PLUMBING

PLUMBING

INTERIOR

INTERIOR

EXTERIOR

EXTERIOR