|  | HOME INSPECTION CHECKLIST |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1. EXTERIOR & GROUNDS |  |  |  |  | 4. BATHROOMS AND WATER ROOMS |  |  |  |
|  | ☐ |  | Check the roof for sagging, missing shingles, and any signs of prior water damage or leaks. |  |  | ☐ |  | Inspect toilets for secure mounting, effective flushing, and signs of leaks. |  |
|  | ☐ |  | Inspect walls, siding, and corners for cracks, warping, peeling paint, or uneven surfaces. |  |  | ☐ |  | Verify tubs and showers are sealed properly, with clean grout and functional faucets. |  |
|  | ☐ |  | All exterior doors function properly and have secure weather seals and locking mechanisms. |  |  | ☐ |  | Examine sinks and under-sink plumbing for moisture, or misaligned connections and drains. |  |
|  | ☐ |  | Assess driveway for cracks, pooling water, or damage caused by heavy vehicles. |  |  | ☐ |  | Confirm tiles are level, intact, and free from mold, grout erosion, or water discoloration. |  |
|  | ☐ |  | Ensure fence, gates, and landscaping features are intact and well-anchored. |  |  | ☐ |  | Check towel bars, mirrors, and shelves for tight mounting, corrosion, and finish integrity. |  |
|  |  |  |  |  |  | ☐ |  | Ensure exhaust fan runs smoothly without noise, providing adequate moisture ventilation. |  |
|  | 2. INTERIOR LIVING SPACES |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | ☐ |  | Test water temperature and pressure across all fixtures to confirm heater performance. |  |
|  | ☐ |  | Check all walls and ceilings for water stains, cracking, or signs of structural instability. |  |  |  |  |  |  |
|  |  |  |  |  |  | 5. ATTIC & CRAWLSPACES |  |  |  |
|  | ☐ |  | Test door hinges, locks, and window seals for smooth movement and proper security. |  |  |  |  |  |  |
|  | ☐ |  | Verify floor conditions—scratches, squeaks, gaps, or loose tiles in high traffic areas. |  |  | ☐ |  | Inspect insulation for fullness, discoloration, or signs of moisture intrusion or pest damage. |  |
|  | ☐ |  | Confirm built-in cabinets open fully, show no mold or rot, and are securely attached to walls. |  |  | ☐ |  | Check rafters and roof deck for mold, rot, sagging beams, and visible moisture stains. |  |
|  | ☐ |  | Test electrical outlets and switches for function and check light fixtures for signs of poor wiring. |  |  | ☐ |  | Assess vent coverage and airflow pathways to verify fitness for temperature regulation. |  |
|  | ☐ |  | Inspect baseboards, trim, and stair rails for alignment and general finish quality. |  |  | ☐ |  | Examine crawlspace walls and floors for cracks, pooling water, or signs of foundational shifting. |  |
|  | 3. KITCHEN AREA |  |  |  |  | 6. BASEMENT & UTILITIES |  |  |  |
|  | ☐ |  | Examine countertop surfaces for damage - chips, stains, or peeling finishes. |  |  | ☐ |  | Inspect HVAC unit, filter slots, and ductwork for dust buildup, rust, and consistent airflow. |  |
|  | ☐ |  | Test all appliances for function and physical damage, rust, or disconnected power sources. |  |  | ☐ |  | Check water heater for exterior rust, strange noises, or temperature inconsistencies. |  |
|  | ☐ |  | Check plumbing under sink for leaks, loose fittings, or damaged drainage connections. |  |  | ☐ |  | Test sump pump system for functionality and proper float activation. |  |
|  | ☐ |  | Confirm cabinets and drawers glide smoothly and show no pest damage. |  |  | ☐ |  | Examine circuit breakers for labeling and ease of manual operation in emergency situations. |  |